## Slide 1
Water Quality
Monitoring
System
Developed by:
Rizwana Bashir (23-NTU-CS-1088)
Nimra Fatima (23-NTU-CS-1081)

## Slide 2: Why Water Quality Matters? Unsafe water is a silent threat to health. TDS and Electrical Conductivity reveal water quality.

## Slide 3: Objective:
To monitor water quality in real-time using IoT.”
To measure TDS (Total Dissolved Solids) and Electrical Conductivity (EC) of water.
To alert users if water is unsafe for drinking.
To store and visualize water quality data for trend analysis.”

## Slide 4: Hardware Components:
Esp32 Microcontroller
TDS sensor
OLED
Jumper Wires
Buzzer
LED’s

## Slide 5: Total Dissolved Solid(TDS):
Measures Total Dissolved Solids (TDS) and Electrical Conductivity (EC).
Indicates water quality: higher TDS → more dissolved salts/minerals.
Single sensor performs dual measurement (TDS & EC).

## Slide 6
OLED
Shows real-time TDS and EC readings.
Allows instant monitoring without IoT dashboard.

## Slide 7
Light Indicators
& Buzzer
Green LED indicates that TDS & EC values is in safe zone (0-300) ppm and (0 – 600) (μS/cm)
Yellow LED indicates that TDS & EC values in moderate zone (301 – 600) ppm and (601 – 1200)
Red LED & Buzzer indicates that TDS & EC values are out of range.

## Slide 8: Green LED with OLED:
LED Color | TDS Range (ppm) | EC Range (μS/cm) | Water Quality
Green | 0 – 300 | 0 – 600 | Safe for drinking

## Slide 9: Yellow LED with OLED:
LED Color | TDS Range (ppm) | EC Range (μS/cm) | Water Quality
Yellow | 301 – 600 | 601 – 1200 | Moderate

## Slide 10: Red LED with OLED:
LED Color | TDS Range (ppm) | EC Range (μS/cm) | Water Quality
Red | >600 | >1200 | Unsafe

## Slide 11: IoT & Cloud Integration:
ESP32 sends sensor data (TDS & EC) to the cloud in real-time.
Blynk App Dashboard displays:
Current TDS & EC values
Water quality status (Safe / Moderate / Unsafe)
LED indicators and buzzer alerts
Data Logging: Cloud stores historical readings for trend analysis.
Remote Access: Users can check water quality anytime, anywhere via smartphone.

## Slide 12: Remote Monitoring via Blynk Cloud (For Safe Water):

## Slide 13: Circuit Diagram (Safe water):

## Slide 14: Remote Monitoring via Blynk Cloud (For Moderate Water):

## Slide 15: Circuit Diagram(Moderate water):

## Slide 16: Remote Monitoring via Blynk Cloud (For UnSafe Water):

## Slide 17: Circuit Diagram(Un Safewater):

## Slide 18: Conclusion:
The Water Quality Monitoring System provides real-time monitoring of key parameters (TDS,EC).
It helps in early detection of water contamination, reducing health risks.
Useful for drinking water safety, industrial use, agriculture, and environmental protection.

## Slide 19: Thankyou